## Concrete
CONCRETE CALCULATOR
Cubic yards = (Length ft × Width ft × Thickness in) ÷ 324
INPUTS — type over the yellow cells
Slab length | 20 | feet
Slab width | 30 | feet
Slab thickness | 4 | inches
Waste allowance | 5% | percent of volume
RESULTS
Slab area |  | square feet
Concrete required |  | cubic yards
With waste allowance |  | cubic yards
ORDER THIS MUCH |  | cubic yards (rounded up)
REFERENCE — coverage by slab thickness
Slab Thickness | Square Feet per Cubic Yard
4 inches | 81
5 inches | 65
6 inches | 54
8 inches | 40
Ready-mix is sold in whole cubic yards. Running short mid-pour is far more expensive than ordering a spare yard.
© 2026 Build Your House · build-your-house.com

## Drywall
DRYWALL CALCULATOR
Sheets = Total area ÷ 32 sq ft (a 4' × 8' sheet)
INPUTS — type over the yellow cells
Total wall and ceiling area | 800 | square feet
Coverage per sheet | 32 | square feet (4×8 = 32, 4×12 = 48)
Waste allowance | 10% | percent
Linear feet of seams | 400 | linear feet
RESULTS
Sheets needed |  | sheets
With waste allowance |  | sheets
ORDER THIS MANY |  | sheets (rounded up)
Joint compound |  | gallons (1 gal per 100 sq ft)
Joint tape |  | rolls (1 roll per 100 linear ft)
Screws |  | pounds (1 lb per 8 sheets)
REFERENCE — sheet coverage
Sheet Size | Coverage (sq ft)
4' × 8' | 32
4' × 10' | 40
4' × 12' | 48
Use 4' × 8' sheets on walls and 4' × 12' on ceilings where you can handle them — fewer butt joints to finish.
© 2026 Build Your House · build-your-house.com

## Paint
PAINT CALCULATOR
Gallons = (Total area ÷ coverage per gallon) × number of coats
INPUTS — type over the yellow cells
Total area to paint | 1200 | square feet
Coverage per gallon | 350 | square feet (see table below)
Number of coats | 2 | coats
RESULTS
Gallons per coat |  | gallons
Total gallons |  | gallons
BUY THIS MANY |  | gallons (rounded up)
REFERENCE — coverage by surface
Surface Type | Coverage per Gallon (sq ft)
Smooth drywall / plaster | 400
Textured drywall | 350
Rough wood / concrete | 300
Primer on new drywall | 300
Buy all of one colour in a single trip so the batch numbers match.
© 2026 Build Your House · build-your-house.com

## Flooring
FLOORING CALCULATOR
Square feet to order = (Length × Width) × waste factor
INPUTS — type over the yellow cells
Room length | 12 | feet
Room width | 15 | feet
Waste factor | 1.1 | pick from the dropdown (1.10 = 10% waste)
RESULTS
Floor area |  | square feet
With waste factor |  | square feet
ORDER THIS MUCH |  | square feet (round up to full boxes)
REFERENCE — recommended waste factors
Flooring Type | Waste Factor | Waste %
Carpet, sheet vinyl | 1.05 | 5%
Hardwood, straight pattern | 1.1 | 10%
Laminate, complex room | 1.15 | 15%
Tile, diagonal pattern | 1.2 | 20%
Buy every box in one order — dye lots vary between production runs.
© 2026 Build Your House · build-your-house.com

## Roofing
ROOFING CALCULATOR
Squares = (Footprint area × pitch multiplier) ÷ 100
INPUTS — type over the yellow cells
Building footprint length | 40 | feet
Building footprint width | 30 | feet
Roof pitch | 6:12 | rise : run — pick from the dropdown
Waste allowance | 10% | percent
Ridge and hip length | 60 | linear feet
Eave length | 80 | linear feet
PITCH MULTIPLIER LOOKUP
Roof Pitch | Multiplier | Example: 1,000 sq ft footprint
Flat to 3:12 | 1.03 | 1,030 sq ft of roof
4:12 | 1.05 | 1,050 sq ft of roof
5:12 | 1.08 | 1,080 sq ft of roof
6:12 | 1.12 | 1,120 sq ft of roof
8:12 | 1.2 | 1,200 sq ft of roof
10:12 | 1.3 | 1,300 sq ft of roof
12:12 | 1.41 | 1,410 sq ft of roof
RESULTS
Footprint area |  | square feet
Pitch multiplier |  | from the lookup table above
Roof surface area |  | square feet
Squares |  | squares (1 square = 100 sq ft)
With waste allowance |  | squares
ORDER THIS MANY |  | squares (rounded up)
Ridge cap |  | bundles (1 per 30 linear ft)
Starter strip |  | bundles (1 per 100 linear ft)
Underlayment |  | rolls (4 squares per roll)
Footprint is the area the roof covers when viewed from above, not the sloped surface. The multiplier converts one to the other.
These are estimates. Verify measurements on site before ordering.
© 2026 Build Your House · build-your-house.com